   ELEMENTAL COSTS ANALYSIS WITH BRIEF SPECIFICATIONS (PROPOSED ORPHANAGE AT CHANIKA – DAR ES SALAAM)
	ITEM

	ELEMENT
	EDUCATION HALL
(316M2)
	DINNING/GUEST

ACCOMMODATION BLOCK
(327M2)
	DORMITORY  A
(225M2)
	DORMITORY  B
(225M2)
	BRIEF SPECIFICATIONS


	1.00
	Substructure 
	11,525.70
	11,761.70
	10,806.93
	10,806.93
	· Reinforced concrete combined column bases and columns.
· Plain concrete strip foundations.

· 150mm solid concrete block work foundation walls.

	2.00
	Frame
	3,295.00
	3,293.75
	2,948.50
	2,948.50
	· Reinforced concrete columns and beams.

· Reinforcement bars to structural members.

	3.00
	External Walls and

Internal Walls
	2,702.50
	3,435.40
	6,512.00
	6,512.00
	· 150mm thick solid concrete block work external walls, 150mm & 100mm thick solid concrete block work internal walls.

	Total  carried forward
	17,523.20
	18,490.85
	20,267.43
	20,267.43
	


	ITEM 

	ELEMENT

	EDUCATION HALL

(316M2)
	DINNING/GUEST
ACCOMMODATION

BLOCK
(327M2)
	DORMITORY   A
(225M2)
	DORMITORY   B
(225M2)
	BRIEF SPECIFICATIONS

	
	Total brought forward
	17,523.20
	18,490.85
	20,267.43
	20,267.43
	

	4.00
	External and Internal 

Doors
	2,323.85
	5,194.00
	7,585.75
	7,585.75
	· Hardwood door frames.

· Solid core laminated flush door and hardwood paneled doors.

· “SANTOS” catalogue ironmongery.

	5.00
	Windows
	4,440.00
	4,176.00
	2,902.62
	2,902.62
	· Hardwood window frame

· Aluminium louver windows.

	6.00
	Roofing
	11,283.78
	10,550.60
	8,384.42
	8,384.42
	· Aluminium troughed roofing sheets (IT4) on timber roof structure.

	7.00
	Finishings  Painting and

Decorations
	14,208.30
	18,824.20
	15,051.74
	15,051.74
	· Ceramic wall tiles in wet areas.

· Ceramic floor tiles.

· Suspended gypsum ceiling.

· Walls plastered and emulsion painted.

· Weather guard paint on rendered walls. 

	Total  carried forward
	49,779.13
	57,235.65
	54,191.96
	54,191.96
	


	ITEM

	ELEMENT

	EDUCATION HALL

(316M2)
	DINNING/GUEST

ACCOMMODATION BLOCK

(327M2)
	DORMITORY  A

(225M2)
	DORMITORY  B

(225M2)
	BRIEF SPECIFICATIONS


	
	Total brought forward
	49,779.13
	57,235.65
	54,191.96
	54,191.96
	

	8.00
	Plumbing Installations
	-
	9,632.63
	9,987.07
	9,987.07
	· Plumbing installations.

· Sanitary installations

· Fire fighting installations.

	9.00
	Electrical Installations
	5,373.00
	5,575.00
	4,605.65
	4,605.15
	· Cables; wiring for lighting points; wiring for power sockets;

· Light fittings.

· Fire control panel.

	10.00
	Fitting and Fixtures
	-
	6,400.00
	-
	-
	· Fixed furniture and shelves.

· Low level kitchen fittings

	TOTAL  
	55,152.13
	78,843.28
	68,784.68
	68,784.68
	


	ITEM


	ELEMENT
	BRIEF SPECIFICATIONS
	ESTIMATED COST  

(US$)

	1.

	External Works

	· Landscaping (soft and hard)

· Out door toilets

· Carpark for 6 car visitors

· Askari House

· Servant Quarters

· One borehole

· Boundary wall
· Drainage system


	220,937.41

	TOTAL
	
	220,937.41


